Methods

The UTM coordinates (NAD 27, zone 12S) of all soil and water samples were recorded using a handheld GPS unit and are accurate to within 10 horizontal meters.

Radiocarbon dating of archaeological cobs

Accelerator Mass Spectrometric (AMS) 14C ages of 29 of the 30 archaeological cobs introduced in this study were measured at the Keck Carbon Cycle AMS Facility at the University of California-Irvine under the direction of John Southon.  The 14C ages were calibrated at both the 1- and 2- sigma ranges using CALIB 5.0 (Stuiver et al., 2005)(Table 1).

Maize processing prior to trace-metals and 87Sr/86Sr analyses

For this study, the cupules and outer part of the cob were removed with a titanium knife and discarded.  Any visible contamination (sediment) also was removed.  The center 4 cm of each cob was then dissected using a titanium knife.  The cob was cut into small pieces, homogenized, and freeze dried.  A 1- to 5-gram subsample was transferred to a clean platinum crucible for dry ashing in a muffle furnace.  Ashing was accomplished by ramping the temperature of the furnace in 50C increments every 30 minutes from a starting temperature of 100C to a final temperature of 450C at which temperature the sample was kept for 16 hours.  After cooling to room temperature, the sample was transferred to a small Teflon vessel to which 2 ml of deionized (DI) water, 0.5 ml of high-purity concentrated HNO3, 1.5 ml of high-purity HCL, and 1 ml of HF acid were added.  This solution was then evaporated to dryness on a sand bath.  The residue was dissolved in 2 ml of concentrated HNO3 ,evaporated on a sand bath, and the procedure repeated; then 10 ml of DI water and 1 ml of HNO3 were added to the vessel which was gently heated on the sand bath to near dryness.  The residue was then diluted with 100 ml of DI water in a volumetric flask.

Soil processing prior to metals and 87Sr/86Sr analyses

We expanded our metals and 87Sr/86Sr data bases to include 180 soil sites (211 samples) and 18 surface-water sites (25 samples).   Soil samples were collected by hand auger.  At some locations, multiple (3) samples were collected at different depths; at other locations, samples were collected from either the surface or from a depth between 0 and 55 cm (supplementary Table 1).  87Sr/86Sr data obtained as a function of depth indicate that the 87Sr/86Sr value of single soil sample collected from 50 and 60 cm below the surface yields a value within 0.00005 of the mean value (Supplementary Figure 6).

In order to produce a synthetic soil water, soils were air dried, homogenized, and a 5-gram subsample of each soil was leached for 48 hours (hr) with constant agitation using 500 ml of 1-M acetic acid prepared from distillation-purified glacial-acetic acid.  These samples were sequentially filtered through 0.4- and 0.1-micrometer (m) pore-size membrane filters prior to analysis.  Metals in the synthetic soil water were primarily derived from the leaching of calcium carbonate and from the exchange of hydrogen ions for metal ions in expandable clays.

Trace-metal analyses

Multi-element trace-metal determinations were performed using inductively coupled plasma-mass spectrometric (ICP-MS) and inductively coupled plasma-atomic emission spectrometric (ICP-AES) methods (Garbarino and Taylor, 1996) and (Taylor, 2001).  All measurements were made on aqueous sample solutions without preconcentration, using direct pneumatic nebulization with a Perkin- Elmer Elan 6000 instrument (ICP-MS) or a Perkin-Elmer Optima 3300 DV (ICP-AES).  A combination of ICP-MS and ICP-AES were used for the determination of 51 trace metals in the maize cobs and synthetic soil waters.  Thirty-three trace metals were above detection limits for the synthetic soil waters (supplementary Table 2); 51 trace metals were above detection limits for the 30 new cobs (supplementary Table 4); 35 trace metals were above detection limits for the Pueblo Bonito and Aztec Ruin cobs first discussed in Benson et al. (2003) (supplementary Table 3).

Sr-isotope analyses

Strontium chemical separations and isotopic determinations were conducted in a Class 1-10,000 clean room at the University of Colorado, Boulder.  Strontium separates were obtained using a Sr-specific resin (Sr resin SPS, Eichrom Technologies, Inc.).  The total procedural blank for Sr was ~30 picogram (pg).  Strontium isotopic measurements were obtained using a Finnigan-MAT 261 thermal-ionization mass spectrometer in 4-collector static mode.  During the study period, 31 measurements of the SRM-987 Sr isotopic standard yielded a mean 87Sr/86Sr value of  0.71028 ± 0.00002 (2-mean) which is identical, within the precision of the measurement (two parts in the fifth decimal place), to the reference value of the standard (0.71028).  The 87Sr/86Sr values of archaeological cobs and synthetic soil waters are listed in Table 1 and supplementary Table 1.

References

Benson, L., Cordell, L., Vincent, K., Taylor, H., Stein, J., Farmer, G. L., Futa, K., 2003. Ancient maize from Chacoan great houses: Where was it grown? Proceedings of the National Academy of Sciences 100, 13111-13115.

Garbarino, J. R., Taylor, H. E., 1996. Inductively coupled plasma-mass spectrometric method for the determination of dissolved trace elements in natural water. U.S. Geological Survey Open-File Report 94-358, 88 p.

Stuiver, M., Reimer, P. J., Reimer, R. W., 2005. CALIB information and download page. http://depts.washington.edu/qil/

Taylor, H. E., 2001. Inductively Coupled Plasma-Mass Spectrometry: Practices and Techniques. Academic Press, NY, 294 p.