APPENDIX B: Supplementary Methods

Seabirds as regional biomonitors of legacy toxicants on an urbanized coastline

Corey A. Clatterbucka,b,*, Rebecca L. Lewisona, Nathan G. Dodderc, Catherine Zeemand, and Kenneth Schiffe

a. San Diego State University, Biology Department, San Diego, California, USA

b. University of California-Davis, Graduate Group in Ecology, Davis, California, USA

c. San Diego State University Research Foundation, San Diego, California, USA

d. US Fish and Wildlife Service, Carlsbad Fish & Wildlife Office, Carlsbad, California, USA

e. Southern California Coastal Water Research Project, Costa Mesa, California, USA

- Methods

Eggs were cleaned with distilled water, weighed, and measured for maximum length and width to the nearest 0.1mm using a analog dial caliper. We measured volume as the weight of water displaced by the egg. For cracked eggs, we estimated volume using the generic approach by Hoyt (1979). Afterwards, we sliced eggs through the equator using a pre-sanitized scalpel, examined egg contents for approximate embryo age and malposition, placed contents into a kilned glass jar, and stored in a -20°C freezer until subsequent chemical analysis.

We let eggshells dry at room temperature for 30 days before measuring eggshell thickness at 4 separate points on the eggshell and shell membrane using a dial micrometer. We averaged the 4 eggshell thickness measurements for each sample to derive one thickness measurement per sample. To account for errors in measuring thinner eggshells, we also calculated Ratcliffe’s index, RI = , where L is the maximum shell length (mm), W is the maximum shell width (mm), and S is the weight of the dry shell (g) (Ratcliffe 1970).

The individual analytes and reporting levels are provided in Table B.1. POPs and selenium were measured by Physis Environmental Laboratories (PEL; in Anaheim, CA). Mercury was measured by the Sanitation Districts of Los Angeles County (LACSD; in Whittier, CA), and the City of San Diego, CA (CSD). Selenium and arsenic were measured by LACSD only.

An elemental inter-laboratory comparison was performed prior to the analysis of field samples. A single lab performed POP analyses, so no interlab comparisons took place. Two reference materials were used: National Institute of Standards and Technology (NIST) Standard Reference Material (SRM) 1946: Lake Superior Fish Tissue, and a chicken egg homogenate containing spiked concentrations of the target elements. For both materials, all laboratories were within ± 30% of the mean value for each element.

The toxicants examined, their method detection limits, and reporting limits are available in Table S1. Each lab used established EPA methods or machinery to perform toxicant and egg content analysis (Table B.2). Laboratories ran a set of QC materials with the field samples, including method blanks, spiked blanks (elements only), reference materials, matrix spikes, and laboratory sample duplicates. Each QC material had associated criteria for analytical frequency and accuracy (Table B.3). The success of meeting these criteria was evaluated for each contaminant class (Table B.4). In all cases, the frequency success was 100%. The accuracy success was generally between 84% and 100%, except as noted (Table B.4).

Due to the variety of reported contaminant concentrations in the literature, we used the R package “OrgMassSpecR” to convert contaminant concentrations to a standardized reporting metric, ng/g fresh weight (fw) (Dodder and Mullen 2014). To obtain fw-based values, wet weight-based (ww) contaminant levels reported by each laboratory were adjusted according to methods by Stickel et al. (1973), using an adjustment factor equal to the ratio of the egg volume to the egg weight for each egg that was sampled. Mean adjustment factors were calculated for those samples that were composites of multiple eggs (i.e., least terns). The extent of moisture loss from individual eggs was variable, such that unadjusted wet weight-based concentrations in some eggs would be over-reported by as much as nearly four-fold.

Current methods for PCB screening measures PCB congeners, whereas historic data and screening levels used Aroclor mixtures to examine sum PCB concentrations. To relate the total PCB contaminants of past studies (>90 PCB congeners) to the 41 congeners measured in this study, we adjust the total PCB levels in the study using a least squares linear regression method from Zeeman et al. (2008):

Total PCBs (ng/g fw) = 75.2 ng/g fw + 1.17 (∑ lab-reported PCB concentrations ng/g fw)

This method is only used for comparisons with previous studies discussed in section 4.3.

Table B.1 Analyte list, method detection level (MDL), and reporting level (RL) for egg samples. MDL and RL were converted from wet weight basis to ng/g dry weight assuming 75% moisture. % detect refers to the percentage of samples in which each analyte was detected.

Table B.2 Standard methods and instruments used to quantify each target class.

Table B.3 Quality control data quality objectives. A batch was defined as not more than 20 samples. Metals include mercury, arsenic, and selenium. For the organics, the accuracy was evaluated by individual contaminant (not the class sum). The reference material was either rNIST SRM 1946: Lake Superior Fish Tissue, or a custom laboratory control material made from bird eggs. MDL = method detection limit and RPD = relative percent difference.

Table B.4 Data quality objective success rates for each contaminant class. Metals include mercury, arsenic, and selenium. For the organics, the accuracy was evaluated by individual contaminant (not the class sum).